## Sheet1
Parameter | Design | October | November | December | January | February | March | Performance | Calculated Performance | % Deviation | Significant Deviation | Recommendation
Inlet Steam Pressure (kg/cm2) | 159.6 | 158.1191 | 155.1299 | 155.3959 | 146.78 | 156.7955 | 156.6829 | 158.1191 | 158.1191 | -0.92786 | FALSE | Monitor overpressure conditions
Inlet Steam Temperature (°C) | 565 | 558.2852 | 558.187 | 558.339 | 533.8458 | 555.8462 | 553.399 | 558.339 | 558.339 | -1.1789 | FALSE | Check for overheating
Condenser pressure(kg/cm2a) | 0.1033 | 0.11761 | 0.1067 | 0.1042 | 0.10171 | 0.10522 | 0.10712 | 0.1042 | 0.1042 | 0.87116 | FALSE | Monitor overpressure conditions
Main Steam flow (TURBINE INLET)(TPH) | 1830.59 | 1825.5965 | 1791.7638 | 1794.6382 | 1707.9975 | 1810.8309 | 1809.2545 | 1825.5965 | 1825.5965 | -0.27278 | FALSE | Within acceptable range
RPM | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | FALSE | Within acceptable range
Load(MW) | 600 | 596.172 | 588.575 | 590.2903 | 555.7849 | 596.0635 | 594.704 | 596.172 | 596.172 | -0.63799 | FALSE | Within acceptable range